## Slide 1
Project Presentation of CO-OP Project at Industry (Module-2)
On
Smart IoT-Based Water Leakage Detection and Automatic Control System
Rythem Bangia
2210990752
Supervised By
Prof. (Dr.) Darpan Anand
Department of Computer Science and Engineering,
Chitkara University, Punjab

## Slide 2
Agenda
Introduction & Background
Problem Statement
Objectives & Scope
Methodology: System Architecture
Algorithm Design
Tools & Technologies
Implementation
Results & Performance
Comparison with Existing Systems
Conclusion & Future Scope

## Slide 3
Introduction
Background
Water leakage affects millions of residential, commercial, and industrial establishments globally
Undetected leaks waste thousands of liters/day and cause extensive structural damage
Economic impact: high utility bills, structural repairs, electrical hazards
Traditional Approaches & Their Limitations
Manual inspection: periodic, no real-time monitoring
Basic alarm systems: only trigger alerts, no corrective action
Industrial systems: high cost, unsuitable for residential use
All approaches: complete dependency on human intervention

## Slide 4
Problem Statement & Objectives
Problem Statement
“Design an affordable, intelligent, automated system for real-time water leakage detection and prevention without human intervention.”
Objectives
Real-time, continuous leak detection using IoT sensors
AI-based anomaly detection to distinguish actual leaks from noise
Automatic water shutoff via relay-controlled solenoid valve
Remote monitoring through cross-platform mobile application
Offline functionality using edge AI on Raspberry Pi
Low cost-per-zone for affordable widespread deployment

## Slide 5
System Architecture
Three-Layer Distributed Architecture
Edge Layer: Raspberry Pi + sensors + local AI
Operates fully offline for immediate detection and valve shutoff
Cloud Layer: Supabase + Edge Functions
Persistent storage, advanced AI analysis, email notifications
Application Layer: React Native Mobile App
Real-time monitoring, remote control, event history & analytics

## Slide 6
Algorithm Design
Three Complementary AI Algorithms
Rolling Z-Score Anomaly Detection
Moving statistical window over recent readings; Z-score > ±2.5 triggers anomaly flag
Linear Regression Trend Prediction
Fitted over time-series data; positive slope = gradual leak signature detected early
Composite Risk Scoring System
Combines threshold level + trend slope + sensor health → Low / Medium / High risk
Key Benefit
AI risk scoring reduces false alarms by ~85% vs. simple threshold-based detection

## Slide 7
Tools & Technologies
Hardware Components
Raspberry Pi 4 — Central controller & edge AI processing unit
Capacitive Moisture Sensors — Detect moisture levels (0-100%)
ADS1115 ADC Module — Analog-to-digital conversion via I2C
Relay Module + Solenoid Valve — Automatic water shutoff
Piezo Buzzer + LED Indicators — Local alerts
Software Stack
Python 3.x — Edge AI processing, sensor reading, GPIO control
Supabase (PostgreSQL) — Cloud database, auth, real-time APIs
Node.js — Edge Functions for cloud-side AI & email alerts
React Native (Expo) — Cross-platform iOS & Android app

## Slide 8
Implementation
4.1 Sensor Data Acquisition
Analog voltage → ADS1115 ADC (I2C) → Raspberry Pi; sampled every 500ms, normalized 0-100%
4.2 Edge AI Decision Logic
Sensor data → Z-Score + Regression → Risk Score → if critical: Alert + Valve Shutoff
4.3 Automatic Valve Control
GPIO 17 activates relay → 12V solenoid valve closes within 1-2 seconds of detection
4.4 Cloud Integration & Notification
Leak event → Supabase DB insert → Edge Function triggered → Email alert in 5-10 seconds
4.5 Mobile Application
React Native app: Monitor (live data), Simulate, History (AI summaries), Settings tabs

## Slide 9
Results & Performance
Key Performance Metrics
Detection Response Time: < 1 second
Valve Shutoff Delay: < 2 seconds after detection
Detection Accuracy: High accuracy with AI-filtered low false positives
System Cost: < $100 per monitored zone
Offline Functionality: Yes — Edge AI operates without internet
Mobile App Latency: ~500 ms for live updates
Zones Supported: Up to 4 zones (scalable architecture)
Key Observations
Reliably detects both sudden and gradual leaks — zero missed detections in tests
False alarm reduction: ~85% vs. simple threshold detection
Offline pipeline confirmed during simulated internet outage

## Slide 10
Comparison with Traditional Systems
Proposed vs. Traditional Systems
Real-Time Detection: Traditional = No | Proposed = Yes
Automatic Valve Shutoff: Traditional = No | Proposed = Yes
AI-Based Analysis: Traditional = No | Proposed = Yes
Mobile Remote Access: Traditional = Limited | Proposed = Full React Native App
Offline Functionality: Traditional = No | Proposed = Yes (Edge AI)
Cost: Traditional = > $500 | Proposed = < $100 per zone
Scalability: Traditional = Low | Proposed = High (multi-zone)
False Alarm Reduction: Traditional = Manual | Proposed = Automated (AI)

## Slide 11
Conclusion & Future Scope
Conclusion
Successfully demonstrates intelligent, cost-effective, scalable water leakage detection.
Sub-second detection + offline AI + multi-zone + <$100/zone + virtual simulation
Bridges gap between expensive industrial systems and inadequate basic alarm systems
Future Scope
Smart Home Integration: Amazon Alexa, Google Home, Apple HomeKit
Advanced ML: LSTM / Transformer deep learning models on real historical data
Predictive Maintenance: pipe degradation prediction from long-term sensor trends
Push Notifications: Firebase Cloud Messaging (FCM) for instant mobile alerts
Industrial Scale: hundreds of zones across large facilities
Water Flow Sensors & Computer Vision (OpenCV) for enhanced detection

## Slide 12
Thank You
3